## Slide 1: Storage Data Protection Technologies and Applications

## Slide 2
Traditional data protection solutions provide only periodic data backup. Therefore, problems such as no backup window, inconsistent data, and adverse effects on production systems inevitably occur.
This course describes storage data protection technologies such as HyperSnap, HyperClone, HyperReplication, and HyperMetro, which are new data protection methods.

## Slide 3
On completion of this course, you will be able to understand the principles, configuration methods, and application scenarios of the following features:
  HyperSnap
  HyperClone
  HyperReplication
  HyperMetro

## Slide 4
HyperSnap
HyperClone
HyperReplication
HyperMetro

## Slide 5: Overview
The Storage Networking Industry Association (SNIA) defines a snapshot as follows:
  A snapshot is an available copy of the specified data collection. The copy contains the image for the relevant data at a time point when the copy begins.
  A snapshot can be a duplicate or replicate of data.
Notes: Purposes of a snapshot:
  Backup and archiving: A snapshot can be used to serve as a data source for backup and archiving.
  Quick recovery: A snapshot flexibly and frequently generates recovery points in time for data on storage devices, enabling fast data recovery when necessary.
  Instant generation: A snapshot is instantaneously generated without interrupting host services. It is a data duplicate of the source LUN at a specific point in time.

## Slide 6: How HyperSnap Works
Definition: A snapshot is a consistent copy of the source data at a certain point in time. After a snapshot is generated, it can be read by hosts and used as a data backup at a certain point in time.
Main features
  Instant generation: A storage system can generate a snapshot within a few seconds to obtain the consistent copy of source data.
  Small storage space occupation: A snapshot is not a full physical data copy, and therefore does not occupy large storage space. A snapshot for a large amount of source data occupies only a small space.
8:00 AM
9:00 PM
a
d
g
j
b
e
h
k
c
f
i
l
a
d
g
j
b
e
h
k
c
f
i
l
a
d
g
j
b
e
h
k
c
f
i
l
a
d
g
j
b
m
h
k
c
f
n
l
Notes: Common snapshot terms:
  Source volume: A volume that stores the source data of a snapshot. It is presented as a LUN to users.
  Snapshot volume: A data copy logically generated after a virtual snapshot is created for a source LUN. It is presented as a LUN to users.
  Redirect on write: When data is modified, new space is allocated to new data. After the new data has been written successfully, the original space is released.
  Snapshot rollback: Data of a snapshot LUN is copied to the source LUN. In this way, data of the source LUN is recovered to state at the point in time when the snapshot LUN was activated.
  Inactive: A snapshot is unavailable. The opposite status is activated.

## Slide 7: HyperSnap Principles: Zero Performance Loss
A B C D E
L0->P0
Data requested to be written to L2 of the source LUN is written to P5.
Data requested to be written to L2 of the source LUN is again written to P7.
SSD storage space
LUN Mapping Table
Snap Mapping Table
L1->P1
L3->P3
L4->P4
L2->P5
L2->P2
Data requested to be written to L0 of snapshot 1 is written to P6.
L0->P6
P0 P1 P2 P3 P4 P5 P6 P7 P8
G
F
Snap Mapping Table
H
Data requested to be written to L2 of snapshot 2 is written to P8.
L2->P7
I
L2->P8
Data requested to be written to L2 of the source LUN is written to a new space P5. The original space P2 is referenced by the snapshot.
Data requested to be written to L0 of snapshot 1 is written to a new space P6, bringing no additional read and write overhead.
When data is written to L2 of the source LUN again, the requested data is written to a new space P7. The original space P5 is released because it is not referenced by a snapshot.
A new snapshot 2 is created and activated.

## Slide 8: HyperSnap Principles: Rollback
TIME
10
11
12
Data 10:00 AM
Data 11:00 AM
Snap 11:00 AM
Snap 10:00 AM
Virus Infection
Data 11:00 AM
Restore

## Slide 9: HyperSnap Principles: Snapshot Cascading and Cross-Level Rollback
Snapshot cascading: a child snapshot of a parent snapshot. The difference between snapshot duplicates and snapshot cascading is that the latter includes the data of its parent snapshot. Other functions are the same as common snapshots.
Cross-level rollback: Snapshots sharing the same source volume can roll back each other regardless of their cascading levels.
Snapshot1.snapshot1
8:00
Source volume
snapshot0
snapshot1
9:00
Snapshot1.snapshot0
10:00
11:00

## Slide 10: Key Technologies of HyperSnap: Duplicate
Snapshots are virtual, so they can be duplicated quickly.
8:00
8:00
8:00
8:00
Source volume
Snapshot
How can I obtain multiple duplicates of the same snapshot?

## Slide 11: Key Technologies of HyperSnap: Rollback Before Write
During rollback, when a host writes data to a source LUN, the snapshot copies the data blocks to the source LUN, and then the host continues to write data.
When no host reads or writes data, the snapshot data is rolled back to the source volume in sequence.
How can I instantly recover data?
8:00
Snapshot rollback
Source volume
Snapshot

## Slide 12: Application Scenario
Source LUN
Snapshot LUN
Continuous data protection
Data backup and restoration
Duplicate
Duplicate
Duplicate
Duplicate
Decision-making support
Data analysis
Data test
Report generation
Source LUN
Snapshot LUN

## Slide 13: Configuration Process
Create a snapshot.
1. Check the availability of the snapshot function.
2. Create a snapshot.
Perform this operation when a storage system does not have the source LUN of a snapshot.
Start
End
Check the license file.
Create a source LUN.
Required
Optional
Notes: Snapshot configuration terms:
  Activated: This status indicates that the snapshot is available.
  Inactive: This status indicates that the snapshot is unavailable.
  Reactivates a snapshot: Combination of the command for deactivating and activating a snapshot.
  Snapshot consistency group: To ensure that all snapshots, simultaneously created by multiple LUNs for the same type of services, are consistent in time, you need to add these LUNs to a protection group (PG) and create a snapshot consistency group (CG) for the PG for unified management.
For details, see Huawei Data Storage Infocenter: http://support-it.huawei.com/storage/#/home

## Slide 14
HyperSnap
HyperClone
HyperReplication
HyperMetro

## Slide 15: Overview
Definition
  HyperClone creates a full data copy (a target LUN) of a source LUN at a specified point in time (synchronization start time).
Features
  A target LUN can be read and written during synchronization.
  Full synchronization and incremental synchronization are supported.
  Forward synchronization and reverse synchronization are supported.
  Consistency groups are supported.

## Slide 16: How HyperClone Works
Definition: A Clone is a consistent data copy of source data at a specific point in time. It functions as a complete data copy after data synchronization and as a data backup that is accessible to hosts.
Main features:
  Quick clone generation: A storage system can generate a clone within several seconds to obtain a consistency copy of source data. The generated clone can be read and written immediately. Users can configure different deduplication and compression attributes for the generated clone.
  Online splitting: A split can be performed to cancel the association between a source LUN and a clone LUN without interrupting services. The split read and write operation on the clone LUN will not affect the I/O process of the source LUN.
a
d
g
j
b
e
h
k
c
f
i
l
a
d
g
j
b
e
h
k
c
f
i
l
Create HyperClone.
a
d
g
j
b
e
h
k
c
f
i
l
Synchronize HyperClone.

## Slide 17: HyperClone Principles: Synchronization
Copy all data a and b to the target LUN.
a
b
a
b
a
b
1
2
3
Source LUN
Target LUN
Snapshot
1
2
3
Create a HyperClone pair.
Create a snapshot for the source LUN after synchronization is started.
Scenario 1: Initial synchronization and full copy are performed.
1
2
Create a snapshot for the source LUN after a second synchronization.
Copy incremental data c to the target LUN.
a
b
a
b
a
b
1
2
Source LUN
Target LUN
Snapshot
c
c
c
Scenario 2: Synchronization is performed again after the first synchronization, and differential copy is performed.
a
b
Stored data
c
a
b
Newly copied data
c
New data written to the host
Internal signal flow of the storage system
HyperClone pair

## Slide 18: HyperClone Principles: Reverse Synchronization
a
b
Stored data
c
c
a
b
Newly copied data
d
d
New data written to the host
Internal signal flow of the storage system
HyperClone pair
Scenario 1: Full copy
Copy all data a, b, c, and d to the source LUN.
1
2
Create a snapshot of the target LUN after the reverse synchronization is started.
a
b
2
1
Source LUN
Target LUN
Snapshot
a
b
c
d
c
d
a
b
c
d
1
2
Create a snapshot of the target LUN after the reverse synchronization is started.
Copy incremental data d to the source LUN.
Scenario 2: Differential copy
a
b
2
1
Source LUN
Target LUN
Snapshot
c
d
a
b
c
d
a
b
c
d
Notes: For more information, log in to http://support-it.huawei.com/docs/zh-cn/dorado-v6.

## Slide 19: HyperSnap Principles: Restrictions on Feature Configuration
Feature | Restriction
HyperSnap | A source LUN of HyperSnap can be used as a source LUN of HyperClone, but a LUN of HyperSnap cannot be used as a target LUN of HyperClone.
HyperMetro | A member LUN of HyperMetro can be used as a source or a target LUN of HyperClone.
HyperReplication | Primary and secondary LUNs of HyperReplication can be used as source or target LUNs of HyperClone.
SmartMigration | A source or target LUN of HyperClone cannot be used as the source or target LUN of SmartMigration.
SmartVirtualization | A heterogeneous LUN cannot be used as a source or target LUN of HyperClone.
HyperCDP | A source LUN of HyperCDP can be used as a source or target LUN of HyperClone.

## Slide 20: Application Scenarios: Data Backup and Restoration
Time point A
Time point B
Time point C
Time point D
Source LUN
Target LUN
a
a
a
a
a
a
Create HyperCopy.
Synchronize data on a source LUN to a target LUN. In this case, the target LUN stores the data on the source LUN at time point B.
Data on the source LUN is lost.
Reversely synchronize data on the target LUN to the source LUN. In this case, the source LUN is restored to the status at time point B.
Notes: HyperClone generates one or multiple copies of source data to achieve point-in-time backup, which can be used to restore the source data in the event of data corruption.

## Slide 21: Application Scenarios: Data Analysis and Reproduction
Reproducing n pieces of data
Target LUN (1)
Target LUN (n-1)
Target LUN (n)
Only for data analysis
Source LUN
Data analysis host
Data analysis
The data analysis service uses data on a target LUN to prevent the data analysis service and production service from contending for resources of a source LUN and affecting performance.
Data reproduction
HyperClone can create multiple copies of the same source LUN for multiple target LUNs.
Notes: Data analysis researches on a great amount of data to extract useful information, draw conclusions, and support decision-making. The analysis services use data on target LUNs to prevent the analysis and production services from competing for source LUN resources, ensuring system performance.
HyperClone can create multiple copies of the same source LUN for multiple target LUNs.

## Slide 22: Configuration Process
Check the license.
Create a clone pair.
Start
End
Create a clone consistency group.
Create a protection group.

## Slide 23
HyperSnap
HyperClone
HyperReplication
HyperMetro

## Slide 24: Overview
As a core technology for DR and backup, HyperReplication can realize remote data backup and disaster recovery.
Function | Purpose | Benefit
Remote backup and recovery | Recovers service data using backup data in the remote storage system when the data is invalid. | Prevents damage caused by data loss in the event of data at the primary site becoming unavailable.
Continuous service support | Quickly switches service data from the primary site to the secondary site to protect service continuity when a disaster occurs. | Prevents damage caused by a service interruption upon a failure at the primary site.
DR | Recovers data at the primary site using backup data at the secondary site after a disaster. | Prevents damage caused by service data loss or a long recovery duration after a disaster.
Notes: With digitalization promoted in a wide range of industries, data has become critically important to the efficient operation of enterprises and public institutions, and users require increasingly higher data storage stability. Although many vendors can offer highly reliable storage devices, irrecoverable damage caused by natural disasters to production systems cannot be prevented.
Note 1: A primary site is a production center that includes the primary storage system, application servers, and links.
Note 2: A secondary site is a backup center that includes the secondary storage system, application servers, and links.
Note 3: Unless otherwise specified, hosts mentioned in this document refer to application servers.

## Slide 25: Introduction to DR and Backup
When the HyperReplication feature is used, two data centers work in active/standby mode. The primary site is in the service running status, and the DR center is in the non-service running status.
For active/standby DR, if a device in data center A is faulty or if the entire data center A is faulty, services are automatically switched to data center B.
For backup, data center B backs up only data in data center A and does not carry services when data center A is faulty.
Data center A (primary site)
Data center B (secondary site)
Notes: Recovery Point Objective (RPO): It refers to the minimum time period for recovering data upon a failure or disaster. Data can be restored to the point in time after a disaster occurs. It also refers to the tolerable amount of lost data. RPO indicates the timing period in asynchronous remote replication.
Recovery Time Objective (RTO): It refers to the maximum acceptable time period required to bring one or more applications and associated data back from an outage to a correct operational state. RTO uses the recovery time point as the objective and ensures that the standby host can take over services as quickly as possible. It also refers to the tolerable service interruption time. RTO of asynchronous remote replication depends on host services and fault scenarios.

## Slide 26: HyperReplication Concepts
Question: What are HyperReplication pairs, consistency groups, synchronization, splitting, primary/secondary switchover, data status, and writable secondary LUNs?
HyperReplication implements remote backup and recovery of service data with the following phases: creating a HyperReplication relationship, data synchronization, service switchover, and data recovery. What do these phases entail?

## Slide 27: Phases for Realizing Remote Backup and Recovery of Service Data
1. Create a HyperReplication pair.
2. Synchronize data.
3. Switch over services.
4. Recover data.
HyperReplication
Link
Primary LUN
Secondary LUN
WAN
Pair
HyperReplication
Link
Primary LUN
Secondary LUN
WAN
Pair
HyperReplication
Link
Primary LUN
Secondary LUN
WAN
Pair
Primary LUN
Secondary LUN
WAN
Pair
HyperReplication
Link
Notes: A pair refers to the data replication relationship between a primary LUN and a secondary LUN. In HyperReplication, data can be replicated only from the primary LUN to the secondary LUN through a remote replication link. Before the data synchronization, a pair is necessary for data replication between the primary and secondary LUNs. The pair relationship establishment is similar to the process of dialing a number to set up a connection between two phones. In configuring HyperReplication, a pair consists of a primary LUN on the primary storage system and a secondary LUN on the secondary storage system.
A pair for HyperReplication: A pair is formed after HyperReplication is created. Multiple associated pairs can form a consistency group.
Data synchronization: After the HyperReplication pair is created, data on the primary LUN is initially synchronized to the secondary LUN in full mode by manual or automatic manner. The incremental synchronization of data on the primary LUN is periodically performed on the secondary LUN.
Service switchover: Users can determine whether a primary/secondary switchover can be performed by viewing the data status. A new pair is formed by the primary-secondary switchover.
Data recovery: Data on the secondary storage system is synchronized to the primary storage system. The old pair is recovered by the primary-secondary switchover.

## Slide 28: Running Status of a Pair
By viewing the running status of a pair, you can perform synchronization, splitting, and primary/secondary switchover operations on HyperReplication. After performing an operation, you can view the running status of the pair to check whether the operation is successful.
Running Status | Description
Normal | Indicates that data synchronization between the primary and secondary LUNs is complete.
Splitting | Indicates that data replication between the primary and secondary LUNs is suspended. A pair of primary and secondary LUNs is manually split for service needs. As a result, the running status of the pair changes to the splitting status.
Interrupted | Indicates that the pair relationship between the primary and secondary LUNs is interrupted because the link used by HyperReplication is down or the primary or secondary LUN of HyperReplication is faulty. The pair running status is faulty.
To be recovered | Indicates that if HyperReplication needs to be restored using a manual policy after the fault caused by a pair interruption is rectified, the pair running status changes to the to-be-recovered status. This status indicates that users need to manually synchronize data between the original primary LUN and the secondary LUN to restore the pair.
Invalid | Indicates that if the original attributes of a primary or secondary LUN change when a pair is interrupted (for example, when the HyperReplication link is down, the pair is deleted on the primary or secondary end), the pair running status changes to the invalid status because the primary and secondary system configurations become inconsistent.
Synchronizing | When the primary LUN is synchronizing data to the secondary LUN, the secondary LUN cannot be read or written. If a disaster occurs, data on the secondary LUN cannot be used for service recovery. When the secondary LUN is in the complete status, data on it can be used for service recovery.
Notes: Description: If Initial Synchronization is set to "The data on primary and secondary resources is consistent and data synchronization is not required", a newly created remote replication pair is in the Normal state.

## Slide 29: How Asynchronous Remote Replication Works
Draw a schematic diagram of synchronous remote replication based on known asynchronous remote replication.
Primary
LUN
Secondary
Cache
RM
Primary
LUN
Snapshot of the primary LUN
Snapshot of the primary LUN
Host
Secondary
LUN
Snapshot of the secondary LUN
Snapshot of the secondary LUN
DCL
Primary Storage System
Secondary Storage System
DCL
1
2
1
2
3
4
4
5
5
7
7
WAN
HyperReplication Link
6
Notes: Currently, Dorado V6 6.0.0 does not support synchronous remote replication.
Key points: the read and write process of asynchronous remote replication
A host delivers an I/O request to a cache.
DCL records differences and writes data to the primary LUN.
Snapshots of primary and secondary LUNs are activated.
Incremental data of the primary LUN is synchronized to the secondary LUN.
The storage system checks whether data differences are eliminated by DCL based on the write operation.
The snapshot is stopped.
Logs of DCL are stored in four disks randomly selected by the storage system. Operation and execution logs are stored in the database of the system.

## Slide 30: HyperReplication Service Switchover
1. Normal production at the primary site
Primary
LUN
Production host
Standby host
Secondary
LUN
Primary storage
Secondary storage
WAN
Replication
Link
Services run by the production host
√
Read-only
2. A disaster at the primary site
Primary
LUN
Production host
Standby host
Secondary
LUN
Primary storage
Secondary storage
WAN
Disconnected
Link
Read-only
3. Service taken over by the secondary site
Primary
LUN
Production host
Standby host
Secondary
LUN
Primary storage
Secondary storage
WAN
Disconnected
Link
Read/Write
Services taken over by the standby host
√
Notes: When the primary site of HyperReplication suffers a disaster, the secondary site can quickly take over services to protect service continuity.
HyperReplication not only implements remote data backup but also recovers services as soon as possible in the case of a disaster to maintain service continuity.
Requirements for running services on the secondary storage system:
  Before a disaster occurs, data in the primary LUN is consistent with that in the secondary LUN. If data in the secondary LUN is incomplete, services may fail to be switched.
  Services on the production host have also been configured on the standby host.
  The secondary storage system allows a host to access a LUN in a LUN group mapped to the host.
When a disaster occurs, the primary site is invalid, and the HyperReplication links between the primary and secondary LUNs are down. In this case, the administrator needs to manually set read/write permission of the secondary LUN to writable mode to implement the service switchover.

## Slide 31: HyperReplication Data Recovery
2. Data recovery at the primary site
Production host
Standby host
1. Disaster recovery at the primary site.
Secondary
LUN
Primary
LUN
Primary storage
Secondary storage
WAN
Link
Recovery
Services run by the standby host.
√
Secondary
LUN
Production host
Standby host
Primary
LUN
Primary storage
Secondary storage
WAN
New
Link
Data recovered
3. Service recovery at the primary site
Primary
LUN
Production host
Standby host
Secondary
LUN
Primary storage
Secondary storage
WAN
Replication Link
Unreadable
Unwritable
Services run by the production host
√
Notes: After the primary site of HyperReplication fails, the secondary site temporarily takes over services of the primary site. When the primary site recovers, services are switched back.
After the primary site recovers from a disaster, it is required to rebuild a HyperReplication relationship between the primary and secondary storage systems and use data on the secondary site to recover data on the primary site.
In an asynchronous remote replication scenario, the storage system performs data synchronization multiple times until the data difference between the primary and secondary LUN is small. Then, the storage system stops services and performs the last synchronization. In this way, no data is lost and service downtime is minimized.

## Slide 32
Notes: Disaster recovery at the primary site:
  When the primary storage system recovers from a disaster, links between the primary and secondary sites are recovered.
  After the links are recovered, manually switch over the primary and secondary sites on the primary storage system to convert secondary LUNs into primary LUNs on the secondary storage system.
Data recovery at the primary site:
  Enable protection for secondary resource and set the secondary LUN to read-only.
  Perform synchronization for multiple times during idle hours to copy data on the primary LUN to the secondary LUN.
Service recovery on the primary site:
  Stop services at the secondary site. Start synchronization again to eliminate the difference between the two LUNs caused by host writes during the previous synchronization.
  Split the pair and set the secondary LUN to writable. Then perform a primary-secondary switchover to restore the pre-disaster pair.
  After the pair recovers, perform synchronization on the primary storage system and enable protection for secondary resource.

## Slide 33: Functions of a Consistency Group
3. Ensure data validity for the consistency group.
1. Create a consistency group.
Primary LUN 01
Primary LUN 02
Primary LUN 03
Secondary LUN 01
Secondary LUN 02
Secondary LUN 03
HyperReplication
Task 01
CG 01
HyperReplication
Task 02
HyperReplication
Task 03
2. Stop replication tasks for the consistency group.
CG 01
Primary LUN 01
Primary LUN 02
Primary LUN 03
Secondary LUN 01
Secondary LUN 02
Secondary LUN 03
HyperReplication
Task 01
HyperReplication
Task 02
HyperReplication
Task 03
CG 01
HyperReplication
Task 01
HyperReplication
Task 02
HyperReplication
Task 03
Primary LUN 01
Primary LUN 02
Primary LUN 03
Secondary LUN 01
Secondary LUN 02
Secondary LUN 03
Notes: In medium- and large-size database applications, data, logs, and change records are stored in different but associated LUNs in the storage system. Data association among these LUNs is ensured by upper-layer services of hosts at the primary site. This association must be maintained when these LUNs are replicated to the secondary site. If the association is unavailable, DR and backup data of the secondary storage system cannot be used to recover services. In this case, HyperReplication pairs of these LUNs can be added to a consistency group. This slide introduces the consistency group function of HyperReplication by comparing and analyzing data invalidity of a storage system with a consistency group and a storage system without a consistency group.
By creating a consistency group, users can perform synchronization, splitting, and primary-secondary switchovers for a single HyperReplication pair or for multiple HyperReplication pairs in a consistency group. Note the following when creating a HyperReplication consistency group:
  HyperReplication pairs can only be added to a consistency group on the primary storage system, and all secondary LUNs of HyperReplication pairs must lie in the same remote storage system.
  LUNs of different HyperReplication pairs in a consistency group can lie in different working controllers.
  HyperReplication pairs in a consistency group must belong to the same replication mode.

## Slide 34: Typical Application Scenarios
Analysis Item | Central DR and Backup | Geo-redundancy
Scenario feature | Backup data is managed centrally so that data analysis and data mining can be performed without affecting services. When a disaster occurs at any service site, the central DR and backup site can quickly take over its services and recover data, achieving unified service data management. HyperReplication mode can be selected for a service site flexibly based on the distance between the service site and the central DR and backup site. | Three data centers are deployed in two cities to perform real-time backup and remote backup concurrently. Service data is backed up to an intra-city DR center in real time through a high-speed link. When data in the primary site becomes invalid, services are quickly switched to the intra-city DR center. If a disaster damages the primary site and the DR center in the same city, an inter-city DR center takes over services and implements DR.
HyperReplication mode | Asynchronous remote replication | Intra-city: asynchronous remote replication Inter-city: asynchronous remote replication
Maximum distance for DR and backup | Asynchronous remote replication: no restrictions | Asynchronous remote replication: no restrictions
Notes: This solution belongs to Huawei Business Continuity and Disaster Recovery Solution. In the Disaster Recovery Data Center Solution (Geo-Redundant Mode), three data centers coexist. The continuity of core services can be ensured when two data centers are damaged, remarkably improving availability of the disaster recovery solution. The primary site, intra-city DR center, and inter-city DR center are the three data centers in the solution.
  Primary site provides services externally.
  Intra-city DR center locates at a place dozens of kilometers away from the primary site. Fiber Channel network–based direct connection is recommended. Synchronous replication is implemented, which is level-1 disaster recovery protection of the geo-redundant solution.
  Inter-city DR center locates at a place hundreds of or thousands of kilometers away from the primary site to cope with regional disasters. Periodic asynchronous replication DR is implemented, which is level-2 DR protection of the geo-redundant solution.
Geo-redundancy can be used when you want to take multi-protection for data and services in the primary site.
  Service DR: If a disaster occurs in the primary site, the intra-city DR center can quickly take over services. If disasters occur in both the primary site and the intra-city DR center, the inter-city DR center can restore production services using data copies. In this way, service continuity is ensured to the maximum.

## Slide 35: Central DR and Backup Scenario
Central DR and backup refer to backing up service data from different places to the same site for centralized management. Service data at multiple service sites is centrally backed up to and managed at the central DR and backup site. When a disaster occurs, the central DR and backup site can take over services from the service site and recover data.
Service site 02
Service site n
Asynchronous
Asynchronous
Central DR and backup site
Primary LUN 02
Primary LUN n
HyperReplication 02
HyperReplication n
Secondary LUN 02
Secondary LUN n
Host
WAN
WAN
......
......
......
Notes: Functions of HyperReplication are as follows:
Collecting data from n (a number) service sites to the central DR and backup site, taking a snapshot of a secondary LUN, and mapping the secondary LUN to a host. The snapshot can be used for data analysis and data mining.
Allowing the central DR and backup site to take over services temporarily when any service site (01 to n) has a disaster and switching back services when the site recovers.
Performing replication tasks (using the asynchronous remote replication mode) from service site 02 to the central DR and backup site, which is 500 km away from service site 02.

## Slide 36: Realizing DR with BCManager eReplication
BCManager eReplication is a DR management software specially designed for typical Huawei DR solutions. It provides a visualized and process-based platform for simple and fast operations and monitoring based on data consistency, HyperSnap, and HyperReplication technologies.
Production host
Storage system
Storage system
Standby host
BCManager
eReplication
Host
BCManager
eReplication
Agent
BCManager
eReplication
Server
BCManager
eReplication
Agent
HyperReplication
Primary site
DR center
Notes: Deploy the BCManager eReplication host in the DR center and install BCManager eReplication Server on the host. Install BCManager eReplication Agent on the service and standby host in the primary site.

## Slide 37: Configuration Process
Start
Check the license.
Create a logical port.
End
Manage a route.
Create an authentication user.
Add a remote device.
Create a HyperReplication pair.
Create a protection group.
Create a remote replication consistency group.
Required
Optional

## Slide 38
HyperSnap
HyperClone
HyperReplication
HyperMetro

## Slide 39: Overview
HyperMetro is also called an active-active feature. Two data centers are backups for each other in the running status.
If a device is faulty in a data center or if the entire center is faulty, the other data center will automatically take over services, solving the switchover problems of traditional DR centers. This ensures high data reliability and service continuity, and improves the resource utilization of the storage system.

## Slide 40: Working Principles of HyperMetro
WAN
Data center A
Production storage
Real-time data synchronization
Quorum device
Data center B
Production storage
SAN
IP network
Oracle RAC cluster/VMware vSphere cluster/
FusionSphere cluster/other
FC/IP SAN
FC/IP SAN
IP network
How do you perform arbitration when a fault occurs?
Notes: Active-active storage design of HyperMetro:
  A-A structure: Active-active LUNs are readable and writable in both data centers and data is synchronized in real time.
  High-reliability design: The double-arbitration mechanism and cross-DC bad block repair improve system reliability.
  High-performance design: Multiple performance tuning measures are provided, reducing latency of interactions between two data centers and improving service performance by 30%.
  Flexible scalability design: Heterogeneous storage arrays, snapshot, and remote replication interworking are supported. The Disaster Recovery Data Center Solution (Active-Active Data Center) can be expanded to the Disaster Recovery Data Center Solution (Geo-Redundant).

## Slide 41: Quorum Mode
If the link between two data centers is down or one data center is faulty, data cannot be synchronized between the two centers in real time. In this case, only a HyperMetro pair or a site of a HyperMetro consistency group can continue providing services. For data consistency, HyperMetro uses an arbitration mechanism to determine service priority in data centers.
HyperMetro provides two quorum modes:
  Static priority mode: applies to scenarios where no quorum server is configured.
  Quorum server mode (recommended): applies to scenarios where a quorum server is configured.

## Slide 42: Static Priority Mode
Fault Type | Result
A link between storage systems is down. | A HyperMetro pair is in the to-be-synchronized status. LUNs in data center A continue providing services while LUNs in data center B stop providing services.
Data center B is faulty. | A HyperMetro pair is in the to-be-synchronized status. LUNs in data center A continue providing services while LUNs in data center B stop providing services.
Data center A is faulty. | A HyperMetro pair is in the to-be-synchronized status. LUNs in data center A cannot be accessed and LUNs in data center B stop providing services.
A HyperMetro replication link is down and a link between a host and data center B is down. | A HyperMetro pair is in the to-be-synchronized status. LUNs in data center A continue providing services while LUNs in data center B stop providing services.
Data center B is faulty and the link between the host and data center B is down. | A HyperMetro pair is in the to-be-synchronized status. LUNs in data center A continue providing services while LUNs in data center B stop providing services.
Links between the host and data centers A and B are concurrently down. | A HyperMetro pair is in the normal status. A host fails to access LUNs in both data center A and B.
Data center A
Data center B
Host
HyperMetro
Notes: When no quorum server is configured or the quorum server is inaccessible, HyperMetro works in static priority mode. When an arbitration occurs, the preferred site wins the arbitration and provides services.
  If the links between the storage arrays are down or the non-preferred site breaks down, LUNs at the preferred site continue providing Metro services and the LUNs at the non-preferred site stop.
  When the preferred site is faulty, the non-preferred site cannot automatically take over HyperMetro services. As a result, the services stop and you need to forcibly start the non-preferred site to provide services for the host.

## Slide 43: Quorum Server Mode
Fault Type | Result
The quorum server is faulty. | A HyperMetro pair is in the normal status. LUNs in data center A and data center B continue providing services.
A link between a storage system and the quorum (example of the storage system in data center A) is down. | A HyperMetro pair is in the normal status. LUNs in data center A and data center B continue providing services.
A storage system is faulty (example of the storage system in data center A). | A HyperMetro pair is in the to-be-synchronized status. LUNs in data center A are invalid, but LUNs in data center B continue providing services.
A link between storage systems is down. | A HyperMetro pair is in the to-be-synchronized status. LUNs in data center A continue providing services while LUNs in data center B stop providing services.
A storage system and the quorum server (example of the storage system in data center A) are concurrently faulty. | A HyperMetro pair is in the to-be-synchronized status. Data center A is faulty and LUNs in data center B stop services.
Data center A
Data center B
Host
HyperMetro
Quorum server
Notes: An independent physical server or VM is used as the quorum server. It is recommended that the quorum server be deployed at a dedicated site that is in a different fault domain from the two DCs. In this way, when a disaster occurs in the single data center, the quorum server still works.
In quorum server mode, in the event of a DC failure or disconnection between the storage systems, each storage system sends an arbitration request to the quorum server, and only the winner continues providing services. The preferred site takes precedence in arbitration.

## Slide 44
Notes: Other faulty types and arbitration results:
  Links between storage systems are down and the quorum server fails (example of the storage system in data center A): The HyperMetro pair is in the normal status. The host can access the other storage system.
  Links between a storage and the quorum server and the host are down concurrently (example of the storage system in data center A): The HyperMetro pair is in the normal status. The host can access the other storage system.
  Replication links between storage arrays are down and links between the host and the non-preferred site (data center B) are down concurrently: The HyperMetro pair is in the To be synchronized state. LUNs in data center B stop services.
  After replicate links between storage arrays are down, Links between a storage system and the host and the quorum server are concurrently down again (example of the storage system in data center A: The HyperMetro pair is in the To be synchronized state. The HyperMetro service is interrupted.
  One storage array is faulty and it is disconnected from the host. In addition, the links between the quorum server and the other storage array are down (example of the storage system in data center A): The HyperMetro pair is in the To be synchronized state. Data center A is faulty and LUNs in data center B stop services.

## Slide 45: Dual-Write Principle
Array A
Array B
Host
Cross-site active-active cluster
HyperMetro LUN
HyperMetro LUN
1
3
3
4
4
5
HyperMetro LUN
2
Write I/O
Notes: Dual-Write Principle
  A host delivers an I/O write request.
  A distributed lock is applied.
  The local storage array writes data to the local cache and sends the write request to the remote storage array.
  The data is written into the local cache and remote storage array successfully. The remote storage array returns a write success message to the local storage array.
  The data is written into both the local and remote storage arrays successfully and the storage arrays return a write success message to the host.

## Slide 46: Strong Data Consistency
HyperMetro LUN
HyperMetro LUN
Mutual exclusion of HyperMetro LUNs' distributed locks
Cross-site active-active cluster
Host
Host
Array A
Array B
Application cluster
Data center A
Data center B
Notes: Data consistency at the application layer: Cross–data center databases, applications deployed in a cluster, and shared storage architecture
Dual-write of I/Os, real-time data consistency
Data consistency at the storage layer
Dual-write of I/Os ensures consistent data.
In normal conditions, the application I/Os that are delivered are concurrently written into both storage arrays, ensuring data consistency between the two storage arrays.
Differential data recording upon the breakdown of a single storage array
If a storage array breaks down, data is written into the other storage array that is working properly and data changes are recorded in a data change log (DCL). After the storage array is recovered and connected to the system again, the data changes in the DCL are written into the storage array in incremental mode.
Distributed lock management (DLM): Only one host is allowed to write data to a storage address at a time when multiple hosts are accessing the address simultaneously. This ensures data consistency.

## Slide 47: Extensible Solution Design
Synchronous/
asynchronous replication
Site A
Site B
HyperMetro
Site A
Site B
Data center A
Data center B
Data center C
Upgraded architecture and uninterrupted services
Smooth expansion
Disaster recovery solution
HyperMetro data center solution
Geo-redundant solution

## Slide 48: Typical Application Scenarios
Industry | Scenario
Healthcare | As hospital services develop, the growing numbers of beds and new outpatient buildings pose higher requirements on service continuity. When critical departments such as out-patient, in-patient, and electronic medical record (EMR) are interrupted, medical treatment is delayed and hospitals suffer great economic loss and inestimable reputation damage. In addition, an out-patient building is close to an in-patient network information center in the same hospital, and two hospitals in the same city are physically close to each other. HyperMetro can meet their requirements.
Finance | In the finance industry, banking services, 24-hour ATM services, POS services, and e-bank services are growing rapidly as bank services develop. These services require that banking systems process round-the-clock services. Banks require a stable and reliable solution that can store data for reuse and meet their service construction requirements (RPO = 0, RTO = 0) to ensure business continuity. Service interruptions damage banks' reputation and exert huge pressure on technical departments.
Social security | In the social security industry, service continuity requirements are high. Monthly settlement and year-end carry-over require 24/7 online operation. Otherwise, people's livelihoods may be adversely affected. For example, pension may not be paid in time, and medical insurance may not be settled in time. HyperMetro is applicable to social insurance application scenarios including basic information management, social insurance card service, labor relationships, public services, public resource management, employment, and social insurance management.

## Slide 49: Configuration Process
Start
Prepare the configuration.
Configure the switches.
End
Configure quorum server software.
Configure HyperMetro.
Configure a multipathing policy for hosts.
Required
Optional
Check the license.
Add a remote device.
Create a quorum server.
Create a HyperMetro domain.
Create a HyperMetro pair.
Create a HyperMetro consistency group.

## Slide 50
Storage Data Protection Technologies and Applications
HyperSnap
HyperClone
HyperReplication
HyperMetro
Definitions, principles, and configuration processes

## Slide 51
(True or false) A source LUN can form multiple HyperClone pairs with different target LUNs. A target LUN can be added to only one HyperClone pair.
Which of the following statements are correct?
  Synchronous replication synchronizes data in real time to maximize data consistency and minimize data loss in the event of a disaster.
  Asynchronous replication performs periodic data synchronization, minimizing service performance deterioration caused by data transmission latency.
  HyperReplication does not require a license.
  Synchronous replication uses snapshots for replication.
Notes: Answers:
  T
  AB

## Slide 52
Which of the following statements about consistency groups are correct?
  If multiple LUNs at the primary end have write dependency relationships, replication consistency groups must be configured to ensure that the secondary LUNs also have write dependency relationships.
  A consistency group is only used to manage the replication relationship between multiple LUNs.
  If one member in a consistency group is faulty, all members in the consistency group are unavailable.
Notes: Answers:
  AC

## Slide 53
Huawei Enterprise Service App
Enterprise Technical Support App
Notes: Huawei training app
  Contains a huge library of Huawei certified learning videos.
Enterprise technical support app
  Covers all popular product documents, cases, and bulletins from Huawei. Users can quickly query commands, alarms, and spare parts. They can also use it to scan and view the device information. Simple and intuitive video guides provide 24/7 enterprise technical support.
Huawei enterprise business app
  Provides one-stop mobile ICT portals for customers and partners to learn about Huawei's comprehensive products and solutions for enterprise ICT anytime and anywhere.

## Slide 54
Huawei official websites
  Enterprise business: https://e.huawei.com/en/
  Technical support: https://support.huawei.com/enterprise/en/index.html
  Online learning: https://www.huawei.com/en/learning
Popular tools
  HedEx Lite
  Network Document Tool Center
  Information Query Assistant
Notes: Popular tools
  HedEx Lite is the Huawei tool for product document management. It allows users to browse, search, update, and manage product documentation.
  eStor is a graphic storage simulation platform. The platform simulates Huawei OceanStor all-flash storage devices to help ICT practitioners and customers get familiar with Huawei storage products and quickly master their operations.
  The Network Documentation Tool Center is the documentation tool for network products. It assists in bidding, network planning, project delivery, upgrades, and maintenance.
  The Information Query Assistant provides command and alarm information querying for Huawei products.